Clinical Investigation Plan (CIP)

EN ISO 14155

Vul hier de volledige titel van de studie in

Vul hier de protocol code van de studie in

Vul hier de versie en versiedatum van de studie in

Protocol Amendment History:

<Please list all amendments (substantial and non-substantial) to the protocol and describe the changes. Protocol version number of an amendment should be 2.0, 3.0 etc… - All draft versions should be numbered 0.1, 0.2, etc...The final version for initial submission should be numbered 1.0. The draft versions should not be mentioned here.>

Example:

| Version | Date | Description of amendment |
| --- | --- | --- |
| 1.0 | 01/Jan/2019 | Initial submission |
| 2.0 | 18/OCT/2019 | - Page 8 and 11: 1 inclusion criterion added: Systolic blood pressure must be < 140 mmHg during screening - throughout the protocol: correction of spelling errors |

| Version | Date | Description of amendment |
| --- | --- | --- |

Inhoudsopgave

1	Synopsis of the clinical investigation	5

2	Title of the trial	6

3	Trial number	6

4	General information	6

4.1	Sponsor	6

4.2	Device Name and Manufacturer	6

4.3	Investigator(s)	6

4.4	Departments/laboratories involved in the study	6

5	Introduction	6

5.1	Background information	7

5.2	Rationale of the clinical investigation	7

6	Objective of the study	7

6.1	Primary objectives	7

6.2	Secondary objectives	7

7	Endpoints	7

7.1	Primary Endpoint	7

7.2	Secondary Endpoints	7

8	Study Design	7

9	Population	7

9.1.1	Number of subjects	8

9.1.2	Inclusion criteria	8

9.1.3	Exclusion criteria	8

9.1.4	Withdrawal and replacement of subjects	8

9.1.5	Restrictions and prohibitions for the subjects	9

9.1.6	Possible advantages and risks for the subjects	9

10	Methodology	9

10.1	Medical device description	9

10.1.1	Intended use and instructions for use	9

10.1.2	Delivery of the medical device	9

10.1.3	Storage of the medical device	9

10.1.4	Packaging and labeling of the medical device	10

10.1.5	Accountability of the medical device	10

10.1.6	Known reactions/side effects of the medical device	10

10.2	Study Specific Procedures	10

10.2.1	Analysis of biological samples	10

10.2.2	Flowchart	10

10.2.3	End of study	11

10.3	Randomisation	11

10.4	Blinding	11

10.5	Prior and concomitant medication	12

11	Safety reporting	12

11.1	Definitions	12

11.2	Causality assessment	13

11.3	Reporting of adverse events	15

12	Study analysis	16

12.1	Sample size calculation	16

12.2	Statistical analysis	17

13	Indemnity insurance	17

14	Final Report	17

15	Publication policy	17

16	Independent Ethics Committee (IEC) / Institutional Review Bord (IRB)	17

17	Competent Authority (CA)	18

18	Protocol compliance	18

19	Early termination	19

20	Good Clinical Practice (ISO 14155)	19

21	Subject information and informed consent	19

22	Data Handling	20

22.1	Case Report Form (CRF)	20

22.2	Data directly collected in the CRF (no source available)	21

22.3	Direct access to source data / documents	21

22.4	Archiving	21

23	Quality assurance and periodic monitoring	21

24	Appendices	22

25	Signature page	23

# Synopsis of the clinical investigation

| TITLE |  |
| --- | --- |
| ACRONYM |  |
| SPONSOR |  |
| PRINCIPAL INVESTIGATOR |  |
| NAME OF DEVICE |  |
| MANUFACTURER |  |
| STUDY DESIGN |  |
| CENTER(S) / COUNTRY(IES) |  |
| OBJECTIVES | Primary Objective Secondary Objectives |
| ENDPOINTS | Primary Endpoint Secondary Endpoints |
| STUDY DURATION |  |
| NUMBER OF PATIENTS |  |
| INCLUSION CRITERIA |  |
| EXCLUSION CRITERIA |  |
| PROCEDURES |  |
| COMPARATIVE DEVICE | Indien van toepassing |

# Title of the trial

Vul hier de volledige titel van het onderzoek in en eventuele naam van de studie/acronym

# Trial number

Protocol: Vul hier het nummer/protocol code van de studie in, indien van toepassing.

Eudamed nummer: Vul hier het eudamed nummer in, indien van toepassing.

# General information

## Sponsor

Vul hier de naam en de coördinaten in van de sponsor (=opdrachtgever)

## Device Name and Manufacturer

Vul hier de naam van het toestel in en van de fabrikant

## Investigator(s)

Vul hier de naam en de coördinaten in van de onderzoeker(s).

## Departments/laboratories involved in the study

Vul hier de naam en de coördinaten in van de dienst(en) en laboratoria die betrokken zijn bij de studie indien van toepassing

# Introduction

## Background information

Geef een korte samenvatting van de aandoening waarop de focus ligt in uw klinisch onderzoek. Verwijs naar de meest belangrijke literatuur gepubliceerd rond dit onderwerp.

## Rationale of the clinical investigation

Beschrijf de rationale van het uitvoeren van deze studie. Vanwaar de nood voor deze studie, hoe kan dit bijdragen tot het verwerven van kennis, … Verwijs naar (pre)klinisch onderzoek reeds uitgevoerd met het toestel.

# Objective of the study

## Primary objectives

Beschrijf hier de primaire doelstellingen van de studie, wat je met de studie wenst te bereiken. De data die verzameld wordt in de studie dient om de doelstelling te bereiken.

## Secondary objectives

Beschrijf hier de secundaire doelstellingen van de studie

# Endpoints

## Primary Endpoint

Beschrijf hier het primair eindpunt van de studie, terug gekoppeld naar de primaire doelstelling

## Secondary Endpoints

Beschrijf hier de secundaire eindpunten die bewijs van de primaire doelstelling ondersteunen of gericht zijn op de secundaire doelstellingen.

# Study Design

Beschrijf hier het design van de studie (open, dubbelblind, gerandomiseerd, …)

# Population

### Number of subjects

Beschrijf hier het aantal proefpersonen die in de studie zullen geïncludeerd worden. In geval van multicenter studie, beschrijf het aantal proefpersonen per site indien gekend.

### Inclusion criteria

Beschrijf hier de karakteristieken die de populatie van uw studie bepalen. Elke deelnemer moet voldoen aan de inclusie (en exclusie) criteria om aan de studie te mogen deelnemen. Voorbeelden kunnen zijn leeftijdsgrens, bepaalde lab waarden, bloeddruk binnen bepaalde grens, medische voorgeschiedenis,…

### Exclusion criteria

Zorg ervoor dat de exclusie criteria niet het omgekeerde zijn van de inclusie criteria. Indien bepaald criterium reeds vermeld is bij inclusie (bv. > 18 jaar), moet je het hier niet herhalen bij exclusie (bv. ≤ 18 jaar).

### Withdrawal and replacement of subjects

Criteria for withdrawal

Subjects may prematurely discontinue from the clinical investigation at any time. Premature discontinuation from the study is to be understood when the subject did not undergo end of study examination.

Subjects can be withdrawn under the following circumstances:

- at their own request

- if the investigator feels it would not be in the best interest of the subject to continue

- if the subject violates conditions laid out in the informed consent form or disregards instructions by the clinical investigation personal

- in case of significant study intervention non-compliance

- nog aan te vullen met studiespecifieke/device afhankelijke redenen waarom subject als drop-out wordt beschouwd, bv. Pregnancy, disease progression which requires discontinuation of the study intervention

In all cases, the reason why subjects are withdrawn must be recorded in detail in the (e)CRF and in the subject’s medical records.

A subject will be considered lost to follow-up if he or she fails to return for the scheduled visits and is unable to be contacted by the study site staff.

The following actions must be taken if a subject fails to return to the clinic for a required study visit:

• The site will attempt to contact the subject and reschedule the missed visit.

• Before a subject is deemed lost to follow-up, the investigator or designee will make every effort to regain contact with the subject (where possible, 3 telephone calls and, if necessary, a certified letter to the subject’s last known mailing address or local equivalent methods). These contact attempts should be documented in the subject’s medical record or study file.

• Should the subject continue to be unreachable, he or she will be considered to have withdrawn from the study with a primary reason of lost to follow-up.

Should the clinical investigation be discontinued prematurely, all clinical investigation materials will be retained and the sponsor will notify the relevant regulatory authorities and ethical committees.

Replacement policy

Beschrijf hier de maatregelen die genomen zullen worden bij drop-outs (al dan niet vervangen). Let op, het totaal aantal verzekerde proefpersonen is inclusief de drop-outs.

### Restrictions and prohibitions for the subjects

Beschrijf hier de beperkingen voor de proefpersonen indien deze er zijn (vb geen alcohol tijdens studie, nuchter naar site komen, ..)

### Possible advantages and risks for the subjects

Beschrijf hier de mogelijke voordelen en risico’s voor de deelnemers aan de studie.

# Methodology

## Medical device description

Beschrijf hier uw medical device dat getest wordt in de studie. Informatie uit de investigator’s brochure en/of gebruikshandleiding kan gebruikt worden. Beschrijf of het toestel CE gecertifieerd is en voor welke indicatie.

### Intended use and instructions for use

Beschrijf de intended use van het toestel + hoe het toestel gehanteerd moet worden. Eventueel kan verwezen worden naar de gebruikshandleiding indien beschikbaar.

### Delivery of the medical device

Beschrijf hoe het toestel geleverd zal worden op de site (shipment records zullen bijgehouden moeten worden). Is de apotheek betrokken bij de levering?

### Storage of the medical device

Beschrijf hoe en waar het toestel bewaard moet worden op site/in de apotheek

### Packaging and labeling of the medical device

Beschrijf hoe het device verpakt en gelabeld zal zijn. Voeg een voorbeeld van het label toe dat op het device zal verschijnen of beschrijf welke informatie op het label zal staan. Voor software kan het label als eerste verschijnen wanneer men de software opent of op een andere manier geïntegreerd worden.

### Accountability of the medical device

Beschrijf hoe de registratie on site van de medical devices zal gebeuren. Er zal een device accountability log bijgehouden moeten worden.

### Known reactions/side effects of the medical device

Beschrijf hier welke reacties/bijwerkingen van het toestel te verwachten zijn indien van toepassing (cfr. Investigator’s brochure)

## Study Specific Procedures

Beschrijf hier alle studie specifieke procedures/interventies die zullen uitgevoerd worden tijdens de studie (vb vragenlijsten, ECG, bloedafname, biopsie, …) en op welk tijdspunt. Dit kan chronologisch opgelijst worden. Bv. Screening assessments, randomisatie, gebruiken van device, follow-up visite 1, follow-up visite 2,… Zorg dat er steeds een realistische time window voorzien wordt bij de tijdspunten (tijd waarin de interventie kan plaatsvinden).

De standaard of care interventies waarvan data verzameld wordt voor de studie dienen hier eveneens beschreven te worden. In geval van multicentrische studies dient men goed op voorhand te achterhalen of de SOC interventies in alle sites dezelfde zijn. Maak duidelijk een onderscheid tussen studiespecifieke procedure en standard of care procedure.

### Analysis of biological samples

Indien van toepassing, beschrijf hier door wie (naam en coördinaten) biologische stalen zullen geanalyseerd worden, alsook welke analyses en op welke manier deze zullen uitgevoerd worden. Waar zullen de biologische stalen bewaard worden? Wie is de medische beheerder van de biobank? Zullen de stalen gebruikt worden voor toekomstig onderzoek na de studie?

### Flowchart

Geef hier het schematisch verloop van de studie weer (geplande activiteiten per visite). Onderstaand vindt u een voorbeeld:

|  | Screening | Baseline | Treatment Phase | Follow Up |
| --- | --- | --- | --- | --- |
| Informed consent |  |  |  |  |  |
| Inclusion/exclusion criteria check |  |  |  |  |  |
| Randomisation |  |  |  |  |  |
| Add all study specific interventions* |  |  |  |  |  |
| Device Compliance |  |  |  |  |  |
| Adverse event check |  |  |  |  |  |

Put an asterisk with all the interventions that are standard of care, so that it remains clear which interventions are study specific and which are not.

### End of study

Beschrijf hier wat als end of study wordt beschouwd in uw studie, welke assessment? Dit kan opgedeeld worden in einde van de studie voor 1 deelnemer en einde van de totale studie.

The subject has completed the study if he or she has completed all phases of the study, including the last visit or the last scheduled procedures, as described in this protocol

Overall, the end of the study is reached when XXX last subject, last visit (LSLV).

The expected total duration of the trial is xxx (vul hier het vermoedelijke aantal dagen/weken/maanden/jaren in dat de studie zal lopen)

## Randomisation

Beschrijf hier de procedures voor randomisering indien van toepassing. Wie doet dit? Hoe? Via software of gesloten enveloppe trekken? Waar worden de randomisatie codes bewaard? Hoeveel deelnemers in de ene groep en hoeveel in de andere?

## Blinding

Beschrijf wie geblindeerd is in de studie, hoe dit georganiseerd wordt en welke procedures er zijn om de blindering op te heffen indien noodzakelijk.

## Prior and concomitant medication

Beschrijf hier de toegelaten en verboden medicatie vóór en tijdens studie indien u restricties oplegt.

# Safety reporting

## Definitions

Adverse Event (AE)

Any untoward medical occurrence, unintended disease or injury or any untoward clinical signs (including an abnormal laboratory finding) in subjects, users or other persons whether or not related to the investigational medical device.

NOTE 1: This definition includes events related to the investigational device.

NOTE 2: This definition includes events related to the procedures involved.

NOTE 3: For users or other persons, this definition is restricted to events related to investigational medical devices.

Serious Adverse Event (SAE)

Adverse event that:

a) led to a death, injury or permanent impairment to a body structure or a body function.

b) led to a serious deterioration in health of the subject, that either resulted in:

- a life-threatening illness or injury, or

- a permanent impairment of a body structure or a body function, or

- in-patient hospitalization or prolongation of existing hospitalization, or

- in medical or surgical intervention to prevent life threatening illness

c) led to foetal distress, foetal death or a congenital abnormality or birth defect.

NOTE 1: Planned hospitalization for pre-existing condition, or a procedure required by the Clinical Investigation Plan, without a serious deterioration in health, is not considered a serious adverse event.

Device deficiency

Inadequacy of an investigational medical device related to its identity, quality, durability, reliability, safety or performance. This may include malfunctions, use error, or inadequacy in the information supplied by the manufacturer.

Adverse Device Effect (ADE)

Adverse event related to the use of an investigational medical device.

NOTE 1- This includes any adverse event resulting from insufficiencies or inadequacies in the instructions for use, the deployment, the implantation, the installation, the operation, or any malfunction of the investigational medical device.

NOTE 2- This includes any event that is a result of a use error or intentional abnormal use of the investigational medical device.

Serious Adverse Device Effect (SADE)

Adverse device effect that has resulted in any of the consequences characteristic of a serious adverse event.

Unanticipated Serious Adverse Device Effect (USADE)

Serious adverse device effect which by its nature, incidence, severity or outcome has not been identified in the current version of the risk analysis report.

NOTE: Anticipated SADE (ASADE): an effect which by its nature, incidence, severity or outcome has been previously identified in the risk analysis report.

## Causality assessment

The relationship between the use of the medical device and the occurrence of each adverse event shall be assessed and categorized. During causality assessment activity, clinical judgment shall be used and the relevant documents, such as the Investigator’s Brochure and the Clinical Protocol shall be consulted, as all the foreseeable serious adverse events and the potential risks are listed and assessed there. The presence of confounding factors, such as concomitant medication/treatment, the natural history of the underlying disease, other concurrent illness or risk factors shall also be considered.

For the purpose of harmonizing reports, each SAE will be classified according to five different levels of causality. The investigators will use the following definitions to assess the relationship of the serious adverse event to the investigational medical device or procedures.

1) Not related: relationship to the device or procedures can be excluded when:

- the event is not a known side effect of the product category the device belongs to or of similar devices and procedures;

- the event has no temporal relationship with the use of the investigational device or the procedures;

- the serious event does not follow a known response pattern to the medical device (if the response pattern is previously known) and is biologically implausible;

- the discontinuation of medical device application or the reduction of the level of activation/exposure - when clinically feasible - and reintroduction of its use (or increase of the level of activation/exposure), do not impact on the serious event;

- the event involves a body-site or an organ not expected to be affected by the device or procedure;

- the serious event can be attributed to another cause (e.g. an underlying or concurrent illness/ clinical condition, an effect of another device, drug, treatment or other risk factors);

- the event does not depend on a false result given by the investigational device used for diagnosis, when applicable;

- harms to the subject are not clearly due to use error;

- In order to establish the non-relatedness, not all the criteria listed above might be met at the same time.

2) Unlikely: the relationship with the use of the device seems not relevant and/or the event can be reasonably explained by another cause, but additional information may be obtained.

3) Possible the relationship with the use of the investigational device is weak but cannot be ruled out completely. Alternative causes are also possible (e.g. an underlying or concurrent illness/ clinical condition or/and an effect of another device, drug or treatment). Cases were relatedness cannot be assessed or no information has been obtained should also be classified as possible.

4) Probable the relationship with the use of the investigational device seems relevant and/or the event cannot reasonably explained by another cause, but additional information may be obtained.

5) Causal relationship: the serious event is associated with the investigational device or with procedures beyond reasonable doubt when:

- the event is a known side effect of the product category the device belongs to or of similar devices and procedures;

- the event has a temporal relationship with investigational device use/application or procedures;

- the event involves a body-site or organ that

- the investigational device or procedures are applied to;

- the investigational device or procedures have an effect on;

- the serious event follows a known response pattern to the medical device (if the response pattern is previously known);

- the discontinuation of medical device application (or reduction of the level of activation/exposure) and reintroduction of its use (or increase of the level of activation/exposure), impact on the serious event (when clinically feasible);

- other possible causes (e.g. an underlying or concurrent illness/ clinical condition or/and an effect of another device, drug or treatment) have been adequately ruled out;

- harm to the subject is due to error in use;

- the event depends on a false result given by the investigational device used for diagnosis, when applicable;

- In order to establish the relatedness, not all the criteria listed above might be met at the same time.

The sponsor and the investigators will distinguish between the serious adverse events related to the investigational device and those related to the procedures (any procedure specific to the clinical investigation). An adverse event can be related both to procedures and the investigational device. Complications of procedures are considered not related if the said procedures would have been applied to the patients also in the absence of investigational device use/application.

In some particular cases the event may be not adequately assessed because information is insufficient or contradictory and/or the data cannot be verified or supplemented. The sponsor and the Investigators will make the maximum effort to define and categorize the event and avoid these situations. Where the sponsor remains uncertain about classifying the serious event, it should not exclude the relatedness and classify the event as “possible”.

Particular attention shall be given to the causality evaluation of unanticipated serious adverse (device) events. The occurrence of unanticipated events related to the use of the device (USADE) could suggest that the clinical investigation places subjects at increased risk of harm than was to be expected beforehand.

## Reporting of adverse events

Adverse events will be reported between the first use of the medical device and the last trial related activity. Medical events that occur between signing of the Informed Consent and the first use of the medical device will be documented on the medical and surgical history section and concomitant diseases page of the CRF.

All AEs and SAE’s will be recorded in the patient’s file and in the CRF. All reportable events will be reported immediately but no later than 3 calendar days after investigational site study personnel’s awareness of the event to:

- The Sponsor/National Coordinating Investigator

- Hiruz CTU

It is the responsibility of the local Principal Investigator to report the local reportable events to the local EC.

The following events are considered reportable events:

- any SAE*,

- any Device Deficiency that might have led to a SAE if:

a) suitable action had not been taken or

b) intervention had not been made or 
c) if circumstances had been less fortunate

- new findings/updates in relation to already reported events.

*For this study, the following serious adverse events are not considered as SAE and should therefore not be reported:

Beschrijf hier welke SAE’s voor uw studie niet te beschouwen zijn als SAEs en niet binnen de 24h gerapporteerd moeten worden (bv. hospitalisatie wegens sociale redenen, behandeling van een pre-existing ziekte die niet verergerd is, monitoring van een pre-existing ziekte die niet verergerd is,…)

This reporting is done by using the appropriate SAE form and device deficiency form. The following information will be recorded: description, date of onset and end date, severity, assessment of relatedness to device, other suspect drug or device and action taken.  Follow-up information should be provided as necessary.

Contact details for reportable events:

Sponsor/National coordinator: Voeg hier de contactgegevens toe en schrap wat van toepassing is (sponsor of national coordinator)

Health Innovation and Research Institute:

E-mail: hiruz.ctu@uzgent.be

Tel: 09/332.09.05.00

Fax +32 9 332 05 20

Address: Corneel Heymanslaan 10, 1K5, 9000 Gent

Reporting of reportable events by the sponsor to the CA:

The sponsor will report all reportable events to the CA within the timelines as defined per regulatory requirements. All reportable events which indicate an imminent risk of death, serious injury, or serious illness and that requires prompt remedial action for other patients/subjects, users or other persons or a new finding to it will be reported immediately but not later than 2 calendar days after awareness by the sponsor to the CA. Any other reportable event will be reported immediately but not later than 7 calendar days following the date of awareness by the sponsor to the CA. New information in relation with an already reported event will be reported by the sponsor to the CA within the same timelines.

# Study analysis

## Sample size calculation

Beschrijf hier op basis van welke criteria het aantal proefpersonen bepaald werd.

## Statistical analysis

Beschrijf hier de statistische analyses die zullen gebeuren, alsook wie de statistisch analyse zal uitvoeren (naam en coördinaten). Beschrijf de statistische analyses tot in detail (vb aanvaard niveau van significantie, intention to treat,…). Zal er een interim analyse plaatsvinden? Zo ja, wanneer en met welk doel?

# Indemnity insurance

During their participation in the clinical investigation the patients will be insured as defined by legal requirements. An insurance with no fault responsibility has been foreseen by the sponsor in accordance with the Belgian law concerning experiments on humans, 7 May 2004.

# Final Report

Within one year after the final completion of the study, a full final report will be written by the sponsor and submitted to the central ethical committee and competent authority. The Sponsor will pass this report to all local Principal Investigators for submission to their local EC if defined by their institution’s procedure.

# Publication policy

Beschrijf hier het publicatiebeleid dat voor deze studie van toepassing is.

This study will be registered at Clinicaltrials.gov prior to inclusion of the first subject. Results information from this study will be submitted to Clinicaltrials.gov.

# Independent Ethics Committee (IEC) / Institutional Review Bord (IRB)

This trial can only be undertaken after full approval has been obtained from the IEC/IRB. During the trial all protocol amendments, revised informed consent form (if any) and reports of reportable events will be sent to the central IEC/IRB for their review.

Substantial amendments should not be implemented without prior review and documented approval / favorable opinion form the IEC/IRB except when necessary to eliminate an immediate hazard to trial subjects or when the change involves only logistical or administrative aspects of the trial (non-substantial changes).

Reports on safety, and reviews of the trial and its progress will be submitted to the central IEC/IRB by the sponsor at intervals stipulated in their guidelines.

At the end of the trial, the sponsor will notify the central IEC/IRB about the trial completion.

# Competent Authority (CA)

This study must obtain approval from the competent authority (FAGG) prior to the start of the study.  All reports of reportable events and protocol amendments will be notified to the competent authorities during the course of the trial within the timelines as defined by the national law.

At the end of the trial, the sponsor will notify the CA about the trial completion as per regulatory requirements.

In case of premature termination of the trial, the sponsor will communicate the reason for early termination to CA.

# Protocol compliance

Prospective, planned deviations or waivers to the CIP are not allowed. Under emergency circumstances, deviations from the CIP to protect the rights, safety or well-being of human subjects may proceed without prior approval of the sponsor and the EC. Such deviations shall be documented and reported to the sponsor by email (enter contact details sponsor and hiruz.ctu@uzgent.be) and the EC as soon as possible. Accidental protocol deviations must be adequately documented and reported in the eCRF on the protocol deviation log. In case accidental protocol deviations are considered as critical issues that significantly affect patient safety, data integrity and/or study conduct these should be reported to the sponsor immediately by email (enter contact details sponsor and hiruz.ctu@uzgent.be). The sponsor will subsequently communicate and discuss this with the EC.

The following items will be documented on the protocol deviation log: date of deviation, description of deviation, actions taken and classification of deviation. Deviations will be classified as minor or major. A minor protocol deviation is a deviation that does not affect the safety, rights or well-being of subjects or the quality of their data. A major protocol deviation is a deviation that affects safety, rights or well-being of subjects or quality of their data.

Any deviation that potentially interferes with and/or affects the efficiency and/or quality conduct of the study will be discussed by the monitor with the PI and will be documented on the monitoring report including a proposed plan of action for resolution if applicable.

# Early termination

Early termination or suspension of the study or an investigational site may be necessary in case of major non-compliance, critical safety issues or premature trial discontinuation. This can occur at any time by the sponsor, principal investigator of the local site, EC or regulatory authority. ISO 14155:2011 shall be followed. In the event that the clinical investigation would be discontinued prematurely, all clinical investigation materials will be retained, the terminating party shall justify its decision in writing and the sponsor will communicate early termination, including the reason for early termination, to EC and regulatory authority.

# Good Clinical Practice (ISO 14155)

This trial will be conducted in accordance with the protocol, ISO 14155 which addresses good clinical practices and applicable law(s).

ISO 14155 is an international ethical and scientific quality standard for designing, conducting, recording and reporting trials that involve the participation of human subjects. Compliance with this standard provides public assurance that the rights, safety and well-being of trial subjects are protected, consistent with the principles that have their origin in the Declaration of Helsinki, and that the clinical trial data are credible.

# Subject information and informed consent

Prior to entry in the trial, the investigator must explain to potential subjects or their legal representatives the trial and the implication of participation. Subjects will be informed that their participation is voluntary and that they may withdraw consent to participate at any time. Participating subjects will be told that their records may be accessed by competent authorities and by authorized persons without violating the confidentiality of the subject, to the extent permitted by the applicable law(s) and/or regulations. By signing the Informed Consent Form (ICF), the subjects or legally acceptable representatives are authorizing such access.

After this explanation and before entry to the trial, written, dated and signed informed consent should be obtained from the subject or legally acceptable representative. The ICF should be provided in a language sufficiently understood by the subject. Subjects must be given the opportunity to ask questions.

The subject or legally acceptable representative will be given sufficient time to read the ICF and to ask additional questions. After this explanation and before entry to the trial, consent should be appropriately recorded by means of either the subject's or his/her legal representative's dated signature or the signature of an independent witness who certifies the subject's consent in writing. After having obtained the consent, a copy of the ICF must be given to the subject.

In case the subject or legally acceptable representative is unable to read, an impartial witness must attest the informed consent.

Subjects who are unable to comprehend the information provided or pediatric subjects can only be enrolled after consent of a legally acceptable representative.

# Data Handling

## Case Report Form (CRF)

Beschrijf hier welk CRF gebruikt zal worden (papier of elektronisch), hoe datamanagment zal uitgevoerd worden, wanneer de CRF’s naar de sponsor gaan, … Een excel bestand wordt niet toegestaan als elektronisch CRF (geen audit-trail, geen beveiligde toegang, geen aangepaste rechten per studie member,…) Onderstaand een voorbeeld waarop u zich kan baseren:

The source documents are to be completed at the time of the subject’s visit. The CRFs are to be completed within reasonable time after the subject’s visit. Only the data required by the protocol are captured in the eCRF. For this study an electronic data capture system (eCRF) … will be used / paper CRF will be used. REDCap is provided and maintained by Vanderbilt University; a license for use was granted to the Health, Innovation and Research Institute (HIRUZ). REDCap is a web-based system.

The study site staff is responsible for data entry in REDCap. For each subject enrolled the CRF will be signed by the principal investigator or co-investigator. This also applies to those subjects who fail to complete the study. If a subject withdraws from the study, the reason must be noted on the CRF. CRF entries and corrections will only be performed by study site staff, authorized by the investigator and in accordance with ISO 14155.

In a “Paper-CRF” errors should be crossed out but not obliterated, the correction inserted, and the change initialed and dated by the study member that made the correction.

The entries will be checked by trained personnel (Monitor) and any errors or inconsistencies will be changed immediately.

The original completed and signed CRFs will be collected at the end of the study by the sponsor. A copy of the completed and signed CRFs will remain on site.

The Principal investigator must verify that all data entries in the CRFs are accurate and correct. If certain information is Not Done, Not Available or Not Applicable, "N.D." or "N.AV." or "N.AP", should be entered in the appropriate space.

Data cleaning of the study database will be performed by ….

## Data directly collected in the CRF (no source available)

The following data will be considered source data and entered directly on the CRF: …

## Direct access to source data / documents

The investigator will permit trial-related monitoring, audits, IRB/IEC review, and regulatory inspection(s), providing direct access to source data/documents.

## Archiving

The investigator and sponsor specific essential documents will be retained for at least 20 years. At that moment, it will be judged whether it is necessary to retain them for a longer period, according to applicable regulatory or other requirement(s).

# Quality assurance and periodic monitoring

Beschrijf hier eventuele maatregelen die genomen worden om de datakwaliteit te bewaken.

The investigator will maintain adequate and accurate records to enable the conduct of the study to be fully documented and the study data to be subsequently verified. These documents will be classified into two different categories: investigator's file, and subject clinical source documents.

The investigator's file will contain the documents as per EUROPENAN Standard of EN ISO 14155 (incl. GCP) and local regulations.

Regular monitoring will be performed by Hiruz CTU according to ICH GCP and ISO 14155. Data will be evaluated for compliance with the protocol and accuracy in relation to source documents. Following written standard operating procedures, the monitors will verify that the clinical trial is conducted and data are generated, documented and reported in compliance with the protocol, ISO 14155 and the applicable regulatory requirements. To be ISO 14155 compliant at least 3 monitoring visits are scheduled. An initiation visit, one routine visit and a final visit after the last patient had finished the study. The monitor will be working according to SOPs and will provide a monitoring report after each visit for the sponsor and a follow-up letter to the investigator. Depending on the quality of the data, additional monitoring visits will be necessary according to the sponsor’s discretion.

More detailed information regarding the monitoring can be found in the monitoring plan.

# Appendices

Voeg hier bijlagen toe indien gewenst

# Signature page

I certify that I will conduct the study in compliance with the protocol, any amendments, GCP/ISO 14155, the declaration of Helsinki, and all applicable regulatory requirements.

Principal Investigator:

Name:		________________________________________________

Title:		________________________________________________

Date:		________________________________________________

Signature:	________________________________________________

# Comments

An objective is the purpose for performing the study in terms of the scientific question to be answered. Express each objective as a statement of purpose (e.g., to assess, to determine, to compare, to evaluate) and include the general purpose (e.g., efficacy, effectiveness, safety) and/or specific purpose (e.g., dose-response, superiority to placebo, effect of an intervention on disease incidence, disease severity, or health behavior).

The primary endpoint(s) should be clearly specified and its importance and role in the analysis and interpretation of study results should be defined. The primary endpoint(s) is the basis for concluding that the study met its (primary) objective. Generally, there should be just one primary endpoint that will provide a clinically relevant, valid, and reliable measure of the primary objective.

The primary endpoint/outcome should be a clear, unarguable, quantitative measure of effect that will be the focus of the primary analysis and will drive the choice of sample size. Less is more e.g. “The primary endpoint/outcome is 28 day survival.” It may be pertinent to list the time point at which endpoint/outcome will be measured if it is possible to be measured more than once during the study.

An example:

An individual who meets any of the following criteria will be excluded from participation in this study:

1. Current use of < specify disallowed concomitant medications>

2. Presence of <specific devices (e.g., cardiac pacemaker)>

3. Pregnancy or lactation

4. Known allergic reactions to components of the <study intervention>, <specify components/allergens>

5. Treatment with another investigational drug or other intervention within <specify time frame>

6. Current smoker or tobacco use within <specify timeframe>

7. < Specify any condition(s) or diagnosis, both physical or psychological, or physical exam finding that precludes participation>]

Examples of interventions are (but not limited to):

•	Physical examination (e.g., height and weight, organ systems, motor or vision assessment, or other functional abilities). If appropriate, discuss what constitutes a targeted physical examination.

•	Vital signs (e.g., temperature, pulse, respirations, blood pressure). Carefully consider which

vital signs (if any) should be measured to ensure that only essential data are collected. Include

any specific instructions with respect to the collection and interpretation of vital signs.

•	 Radiographic or other imaging assessments. State the specific imaging required and, as

appropriate, provide description of what is needed to perform the specialized imaging.

•	Biological specimen collection and laboratory evaluations. Include specific test components

and estimated volume and type of specimens needed for each test (see section 10).

•	Administration of questionnaires or other instruments for patient-reported outcomes, such as a

daily diary.

•	Assessment of adverse events. Describe provisions for follow-up of ongoing AEs/SAEs.

•	…

For instance:

The study code should only be broken for valid medical or safety reasons e.g. in the case of a severe adverse event where it is necessary for the investigator or treating health care professional to know which treatment the subject is receiving before he or she can be treated. If possible, other study team members should remain blinded.

The code breaks for the study are held [please add relevant department] ; in the event a code is required to be unblinded a formal request for unblinding will be made by the local Principal Investigator to the Sponsor.

The PI documents the breaking of the code and the reasons for doing so on the CRF and on the study documents, in the site file and medical notes. It will also be documented at the end of the study in any final study report and/or statistical report.

The study team will notify the Sponsor in writing as soon as possible following the code break detailing the necessity of the code break.

As the investigator is responsible for the medical care of the individual study subject (Declaration of Helsinki 3§ and ICH 4.3) the coding system in blinded studies should include a mechanism that permits rapid un-blinding (ICH GCP 5.13.4). The investigator cannot be required to discuss unblinding if he or she feels that emergent unblinding is necessary.

An appropriate level of statistical advice should be sought to ensure study validity.

The outcome(s) on which the sample size calculation is based upon, is/are <outcome name>.

Please also provide description (include point in time, method of assessment)

The calculation of the sample size below used the tool xxxxx and included the following parameters …. (make sure it can easily be reproduced by a statistician).

Formal sample size calculations typically require the power to be specified and the following values with justification:

The target difference: in a superiority study, this is the difference in the primary outcome that the study is designed to detect reliable. This should be the smallest size of effect that would be of clinical interest. This is of critical importance in the sample size calculation, and should be justified in the form of appropriate references, pilot data or clinical arguments. Expected effects in the intervention and comparison group should also be mentioned (thus not only the expected difference between the groups).

Significance level: what risk is acceptable of concluding the treatment is effective, when in reality the treatment is ineffective (usually 5%)

The power of the study: the probability that the test will correctly reject the null hypothesis when the alternative hypothesis is true. (usually minimum 80%)

In studies with continuous outcomes the standard deviation of the primary endpoint should be included: if previous studies or literature are used to estimate or justify the assumptions made to determine this parameter, or any other parameters relevant to the design (e.g. dropout rate, noncompliance rates median survival rate, response rate), provide references.

If a Bayesian or an alternative statistical approach is used, please state the approach used and provide references to the relevant literature. Please also explain the choice of this approach, and how it achieves the aim of a sample size calculation in terms of i) reassuring about the additional value of the new study, and ii), guide clinical practice in a meaningful way and influence key stakeholders.

If the choice of the sample size was not based upon statistical consideration, then this should be explicitly stated along with a rationale for the intended sample size (e.g., exploratory nature of pilot studies; pragmatic considerations for studies in rare diseases).

If no vulnerable population or age<18 can be included, this section should not mention that legal representatives can sign the ICF. Please adjust accordingly.

In case of REDCAP provided by HIRUZ

Only in certain cases and for certain data, for instance questionnaires

Based on the risk assessment to be adjusted